# Physics 1 (PYU11P10): Errors and Statistics

# Information

- “An Introduction to Error Analysis” – John R. Taylor

- Derivations & Proofs not examined

- Syllabus

  - Systematic & Random Errors

  - Sating Results & Uncertainties

  - Plotting Data

  - Probability Densities

  - Distributions

  - Estimation of mean & standard deviation

  - Regression Analysis

  - Logger Pro

# Lecture 1: Sources of Error

- What are errors?

  - Errors =/= Mistake

  - Errors = Uncertainty

  - No such thing as perfect measurement

- Sources of Uncertainty

  - No matter how advanced the measuring techniques, there will always be finite uncertainty

- Sources of Error

  - Reading dial/ruler is one of many sources of error

- Random Vs. Systematic Errors

  - When reading a dial, it’s equally likely to under / over estimate

  - Systematic errors arise from external influences that haven’t been accounted for.

    - Cannot be reduced by repeating experiments

    - Hard to detect systematic errors

    - Can minimise them by measuring known references

    - Systematic error should be < desired precision

    - High precision experiments can be sensitive to outside events

- How to report errors

  - 1.70 Volts ± 0.05 Volts (Not Recommended)

  - (1.70 ± 0.05) Volts (Recommended)

  - When using variables use delta

    - E.g., x ± Δx

- Significant Figures and Uncertainty

  - Experimental uncertainties should be rounded to 1 Sig. Fig.

  - g = (9.82 ±0.02385) ms^-2 (Incorrect)

  - g = (9.82 ±0.02) ms^-2 (Correct)

  - Last sig fig in stated results should be of the same order of magnitude as the uncertainty

    - (1.61 ±0.05)×10-19 (Correct)

    - (1.61×10-19  ± 5×10-21 (Incorrect)

  - Exceptions

    - If the leading digit in the uncertainty is a 1 or 2, then keeping 2 sig figs is better

    - Any answers and uncertainties used in subsequent calculations should carry at least 1 more sig fig to avoid rounding errors

# Lecture 2: Plotting Data